## Calculator
MyEngineeringTools.com
Pump Hydraulic Power Calculation
1. INPUT PARAMETERS
Volumetric flow rate (Q_Lmin) | 120 | L/min
Pressure rise (DeltaP_bar) | 3.3 | bar
Pump efficiency (eta_pump) | 0.78 | decimal
Safety factor (SF) | 1.2 | dimensionless
Fluid density (rho) | 1000 | kg/m³
Gravitational acceleration (g) | 9.81 | m/s²
2. ENGINEERING OUTPUT
Volumetric flow rate (SI) (Q_SI) |  | m³/s
Pressure rise (SI) (DeltaP_SI) |  | Pa
Theoretical hydraulic power (P_th) |  | W
Shaft power (P_shaft) |  | W
Motor rating (P_motor) |  | W
Equivalent water head (H) |  | m
Theoretical hydraulic power (kW) (P_th_kW) |  | kW
Shaft power (kW) (P_shaft_kW) |  | kW
Motor rating (kW) (P_motor_kW) |  | kW
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational and preliminary estimation purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.