## Calculator
MyEngineeringTools.com
Heat Exchanger Area Sizing
1. INPUT PARAMETERS
Mass Flow Rate of Process Fluid (m_dot_juice) | 1 | kg/s
Specific Heat Capacity of Process Fluid (cp_juice) | 3800 | J/(kg·K)
Process Fluid Inlet Temperature (t_juice_in) | 20 | °C
Process Fluid Outlet Temperature (t_juice_out) | 90 | °C
Utility Fluid Inlet Temperature (t_water_in) | 95 | °C
Utility Fluid Outlet Temperature (t_water_out) | 85 | °C
Clean Overall Heat Transfer Coefficient (u_clean) | 1200 | W/(m²·K)
Fouling Resistance (R_F) | 0.0002 | m²·K/W
2. ENGINEERING OUTPUT
Heat Duty (Q) |  | W
Logarithmic Mean Temperature Difference (LMTD) |  | °C
Design Overall Heat Transfer Coefficient (u_design) |  | W/(m²·K)
Required Heat Transfer Area (A) |  | m²
LEGAL DISCLAIMER & LIMITATION OF LIABILITY: This offline tool is provided for educational purposes only. MyEngineeringTools.com makes no warranties, express or implied, regarding the accuracy or applicability of these results. MyEngineeringTools.com SHALL NOT BE LIABLE for any damages arising from the use of this data. All results MUST be independently verified by a qualified professional engineer before implementation.